ISSN 1392-3196

Žemdirbystė, t. 94, Nr. 2 (2007), p. 18–35

UDK  632.4.01/08:631.576.331.2(045)

## MIKOTOKSINŲ  KIEKIO  ĮVERTINIMAS  GRŪDUOSE  ELISA METODU,  NAUDOJANT  SKIRTINGUS  FOTOMETRUS

##### Bronislava BUTKUTĖ, Audronė MANKEVIČIENĖ

Lietuvos žemdirbystės institutas

Akademija, Dotnuva, Kėdainių rajonas

El.p.: brone@lzi.lt; audre@lzi.lt

###### Santrauka

Pateikiama plati literatūros apžvalga apie dažniausiai javų grūdus ir jų produktus užteršiančių mikotoksinų įvairovę, jų biologinę prigimtį, savybes, nustatymo metodus. Mikotoksinams nustatyti „Veratox“ imunofermentiniais testais (NEOGEN Europe Ltd, Škotija) pritaikytas daugiakanalis automatinis fotometras Multiskan MS. Prietaiso kompiuteryje sukurta programa su duomenų apskaičiavimo metodu Point to Point, įgalinančia absorbcijos dydžius išreikšti atitinkamų mikotoksinų koncentracija ir tiesiogiai matavimo metu apskaičiuoti rezultatus, išreikštus šiomis dimensijomis: deoksinivalenolio (DON) mg kg-1, kitų mikotoksinų – μg kg-1. Ištirta bangos ilgio įtaka mikotoksinų nustatymo tikslumui ir duomenų atkartojimui prietaisu Multiskan MS, ištirtos ir nustatytos „Genesis Lite“ programos galimybės (kalibracinės kreivės pasirinkimas, jos modifikavimas), siekiant pagerinti mikotoksinų kiekybinio nustatymo tikslumą daugiakanaliu fotometru Multiskan MS. Nustatyta, kad optimalus šviesos filtras yra           λ 650 nm. Palyginti duomenys, gauti prietaisais Multiskan MS ir StatFax 300 Plus, apskaičiuotos standartinės regresijos paklaidos bei determinacijos koeficientai. DON nustatant ELISA metodu rezultatų nuskaitymui naudojant fotometrą Multiskan MS, duomenys gauti tikslesni nei naudojant Stat Fax(303 Plus, fotometru Multiskan MS užfiksuojami užterštumo mikotoksinu pėdsakai. Atlikus ZEN analizes 38 grūdų mėginiuose, T-2 toksino analizes 53 mėginiuose ir ochratoksino analizes 36 bei aflatoksino 57 mėginiuose, nustatyta, kad abu prietaisai šiems mikotoksinų rezultatams nuskaityti yra lygiaverčiai.

Reikšminiai žodžiai: mikotoksinai, nustatymo metodai, ELISA metodas, Multiskan MS, StatFax 300 Plus.

ISSN 1392-3196

Zemdirbyste / Agriculture, vol. 94, No. 2 (2007), p. 18–35

UDK  632.4.01/08:631.576.331.2(045)

### ESTIMATION  OF  MYCOTOXIN  CONTENT  IN  GRAIN  BY  ELISA  METHOD  USING  DIFFERENT  PHOTOMETERS

B. Butkutė, A. Mankevičienė

Lithuanian Institute of Agriculture

Summary

This study provides a wide overview of literature about the diversity of most common mycotoxins occurring in cereal grain and their products as well as about their biological nature, properties, and detection methods. For mycotoxin determination by Veratox immunoenzyme tests (NEOGEN Europe Ltd, Scotland) we used a multichannel automatic photometer Multiskan MS. The programme developed in the instrument’s micro-computer with data computing method Point to Point, enabling expression of absorption values as concentration of a respective mycotoxin and immediate calculation of results during measuring, expressed by these dimensions: deoxyinivalenol (DON) mg kg-1, other mycotoxins μg kg-1. The effect of wavelength on mycotoxin determination and on accuracy and data repeatability of the instrument Multiskan MS were estimated, possibilities of the programme Genesis Lite were tested and ascertained (choice of calibration curves, their modification) with a view to improving mycotoxin quantitative determination accuracy by a multichannel photometer Multiskan MS. Optimal light filter was found to be λ 650 nm. Data generated by the instruments Multiskan MS and StatFax 300 Plus were compared, standard regression errors and determination coefficients were calculated. When DON was determined by ELISA method and a photometer Multiskan MS was used for result reading, the obtained data were more accurate than those obtained by Stat Fax(303 Plus, and mycotoxin traces recorded by a photometer Multiskan MS. Having done ZEN analyses in 38 grain samples, T-2 toxin analyses in 53 samples, ochratoxin analyses in 36 samples, and aflatoxin analyses in 57 samples, it was found that both instruments produced the same readings of the mycotoxins tested.

Key words: mycotoxins, determination methods, ELISA method, Multiskan MS, StatFax 300 Plus.